# Minor Clarifications to Construction Drawings

The following is a list of minor clarification to the construction drawings that must be considered in the bid.

1. This bid is only for the sanctuary, atrium, and required sitework, termed “Phase 1”. The education and office building, termed “phase 2”, will be constructed but are not part of this bid. All parking lots will be part of phase 3, and no long part of Phase 1. Any mandatory storm water management items for Phase 1 to be fully usable are included in Phase 1. All items in Phase 1 must be complete and usable without any work in Phase 2 or Phase 3.
2. All work must be completed in a fashion to allow use of the existing building.
3. Flat Roof of Mechanical bump-out area needs to be white TPO (thermoplastic polyolefin)..
4. Access road and parking directly south of the existing building are to remain in place.
5. AC condensers on north and south of the existing building will remain in place.
6. None of the demolition work on the existing building is part of this bid and will be part of Phase 2.
7. Existing ramp and sidewalk on the south side of the existing building will remain in place. Connect the new sidewalks to existing ramp.
8. Contractor must maintain jobsite cleanliness around the existing building.
9. No work will be performed on Sunday.
10. Include baby changing station in the main men’s, women’s, and family bathrooms.
11. Include sanitary napkin receptacles in all women’s bathrooms.
12. Sanctuary chairs will be provided by others.
13. Pulpit will be provided by others.
14. Include blocking for acoustical tiles. Acoustical tiles will be provided by others.
15. All runs for audio visual items must be run with ¾” individual conduit, boxes, and pull wires. Audio Visual equipment will be provided by others.